367

JOURNAL OF COLLOID AND INTERFACE SCIENCE   23, 367‑378 (1967)

On the Theory of Charging of Aerosol Particles by Unipolar

Ions in the Absence of an Applied Electric Field

BENJAMIN Y. H. LIU, KENNETH T. WHITBY, AND HENRY H. S. YU

Particle Technology Laboratory, Department of ‑Mechanical Engineering, University of Minnesota,

Minneapolis, Minnesota, 55455

Received October 28, 1966; revised December 1, 1966

SUMMARY

The charging of aerosol particles by unipolar ions in a gaseous medium and in the absence of an applied electric field has been analyzed from the standpoint of the kinetic theory and compared with theories based upon the macroscopic diffusion of ions and experimental data. It is shown that the quasi‑steady charging rate can be expressed by the simple equation, (dg/dt = e-g  where g is a dimensionless particle charge and t is a dimensionless particle charging time. The particle charging rate is shown to be unaffected by the mean free path of the ions, and hence by pressure. The theoretical equation shows good agreement with the experimental data when the mean thermal speed of the ions is taken as 1.18x104cm/sec, which corresponds to a molecular weight of 460 for the corona ions used in the charging experiments. It is also shown that the theory based upon the solution of the continuous macroscopic diffusion equation for ions cannot be applied to the electrical charging of aerosol particles in the micron and submicron size range because of the low concentration of ions normally encountered and the essentially discontinuous nature of the charging process.

INTRODUCTION
   and the electrogasdynamic power generator


Aerosol particles in a gaseous medium
       (2), although the exact charging theory

containing ions will he charged as a result
       applicable to these devices is complicated

of the thermal motion of the ions and the
       owing to the presence of an applied electric

collision between ions and particles. If the
       field. It is also of considerable importance

medium contains both positive and negative
      in the ionic equilibrium of the atmosphere,

ions, the particle charge will also be bipolar
       since the mechanism of particle charging

with sonic particles being charged posi‑
       affects both the removal from the atmos-​

tively and some negatively. If ions of only
       phere of small ions produced by ionizing

one sign are present, then the resulting par‑
       radiation and the resulting statistical distri-​

ticle charge will also be unipolar. The par‑
       bution of electrical charge on aerosol par-​

ticle charge depends primarily on the size
       ticles. Finally, the recently developed

of the particle, the concentration of small
       method (3) of aerosol size measurement by

ions in the ‑surrounding medium, the length        
electrical charging and mobility ‑analysis in

of time to which the particles tire exposed to
       the size range from 0.01 p to 1.0 u has also

ions, and to somewhat lesser extents the
        made the detailed understanding of the

nature and characteristics of the ions.
       charging process a practical and important


The charging of aerosol particles by small
       problem.

ions is an important factor in the design and
   
   Traditionally, the particle charging process​

operation of the electrostatic precipitator (I)
       has been considered as a macroscopic

368
   LIU, WHITBY, AND YU

diffusion process in which ions are assumed to diffuse continuously in a quasi‑steady state toward the particle under the action of a concentration gradient. The rate of capture of ions by the particle is assumed to be equal to the quasi‑steady ionic flux which can be obtained by solving the steady‑state diffusion equation with appropriate boundary conditions. Various expressions have been obtained for the steady‑state ionic flux by various investigators using different boundary conditions. Examples are the equations of Arendt and Kallmann (4), Gunn (5), Bricard (6), Natanson (7), and others However, in order for the results of these analyses to apply to the actual charging process occurring in a gaseous medium containing aerosol particles, it is essential that the concentration of small ions in the gaseous medium be of such a magnitude that the charging process may be considered essentially as a continuous process. However, the maximum concentration of small ions in all practical particle charging devices, because of the limitation by space charge or recombination, seldom exceeds 108 ions/c.c., which corresponds to a partial pressure of 10-11 atmosphere or 10-8 torr for the ions. In the free atmosphere the natural concentration of small ions will be even lower by several orders of magnitude. Under such conditions the capture of ions by an aerosol particle in the micron and submicron size range is essentially discontinuous, and the results based upon the solution of the continuous macroscopic diffusion equation can not be expected to apply to the actual charging process. This may be shown by an order of magnitude calculation .

          ......Calculation based on Kinetic Theory of Particles Charging Process and Diffusion Theory of Particles Charging Process......Comparison of theories and experimental data ......Results .....Discussion.....

376

CONCLUSION

The charging of aerosol particles by unipolar ions in a gaseous medium fluid in the absence of an applied electric‑ field has been analyzed from the stand point of the kinetic theory. The result has been compared and found to show good agreement with the experimental data, when the mean thermal speed of the corona ions used in the charging experiments is taken as 1.18x104 cm/sec. This is equivalent to assuming a value of 460 for the molecular weight of the ions. The molecular weight thus determined and the measured mobility of the ions of 1.1 cm2/ volt.sec., at atmospheric pressure both tend to support the view that the corona ions used in the charging experiments are molecular clusters formed by the interaction of the charge and dipole moment of the molecules in the cluster. However, the exact nature of these molecular clusters could not be determined from the measurements made.

The experimental data show that the charging process is unaffected by the mean free path of the ions and hence by pressure. This is in agreement with the result of the theoretical analysis based upon the method of kinetic theory of gases and is in variance  with theories based upon the macroscopic diffusion of ions. It has also been shown that the predicted increase in the particle charging rate in Murphy's analysis is entirely the result of neglecting the curvature of the free path of ions in the vicinity of a charged particle. The correct equation, taking into account the curvature of the ion free path, agrees with an equation first derived by White.

The failure of the theories based upon the solution of the continuous steady‑state diffusion equation to account for the experimental facts has been shown to be due to the low concentration of ions normally encountered in any aerosol charging process and the essentially discontinuous nature of the charging process .

______________________

378

NOMENCLATURE



a   particle radius, cm.



C  speed of an ion, cm./sec
  ​




                                                                          "Electrical Aerosol Particle Counting

c  mean thermal speed of ions, cm./sec.



cm, minimum speed of an ion to reach the particle surface, cm./sec.
        

D  diffusion coefficient of ions, cm2/sec.
                                                   

Dp, particle diameter, cm.                               

e   base of natural logarithm).                                 

f  distribution function for ionic speed.






I  ionic flux to particle, number/sec.




k  Boltzmann's constant.
   

m  mass of an ion.




N local concentration of ions, number /c.c.





N0 concentration of ions at great distances from
the particle, number c./c.



r   distance from surface of particle, cm.

R distance from center of particle, cm.




S surface area, cm2




T absolute temperature, °K.




t  time during which particles are exposed to ions, sec.

  ​

V volume, cm3




x dimensionless distance = r/a, dimensionless.


Zi  electrical mobility of ions cm2/volt.sec

    

g  dimensionless particle charge, Eq. [161.




d dimensionless quantity in 'Murphy's equation, Eq.
[28), and Fig. 3.




D  thickness of vacuum shell, cm.




e  elementary unit of charge, 4.8.10-10e.s.u.



q  angle, radian.





l  mean free path of ions, cm.

    

x dimensionless energy of ion, Eq. [8].





t dimensionless time, Eq. [191.




f angle, radian.





y electrostatic potential energy of ion, erg.
 

         REFERENCES



1. White, H.J. "Industrial Electrostatic Precipitation." Addison Wesley Publishing


Co., Inc., Reading, Massachusetts, 1963.


2. Kahn B., A continuation of the basic Study of Slender Channel Electrogas​ dynamics," 

ARL Report No. 65‑4, 1965. 

3.WHITBY~ K. T., AND CLARK, W. E. "Electrical Aerosol particle Counting

and Size Distribution Measuring System for the 0.015 to 1 micron Size Range", 

Tellus 18(2)  (1966).

 4. ARENDT, P., AND KALLMANN, H., "Uber den Mechanismus der Aufladung von Nebelteil​chen,"  Z. Physik 36, 421‑441 (1926).

5. GLNN, R., "Diffusion Charging of Atmos​pheric  Droplets by Ions, and The Resulting

Combination Coefficients," J. Meteorol. 11(5), 339‑351 (1954).

6. BRICARD, J., "Action of Radioactivity and of Pollution upon Parameters of Atmospheric

Electricity," In S. C. Coroniti, ed., "Prob​lems of Atmospheric and Space Electricity."

Elsevier, Amsterdam, 1965.

7. NATANSON, G. L., "On the Theory of the Charging of a microscopic Aerosol Particles as a Result of Capture of Gas Ions," Soviet Phys. Tech. Phgs. English Transl. 5, 538-551 (1960).

8. S. KENNARD, E. H., "Kinetic Theory of Gases," McGraw Hill, New York, 1938.

9. WHITE, H. J., "Particle Charging in Electrostatic  Precipitation," AIEE Trans. 70,1186‑1191 (1951).

10. MURPHY, A. T., "Charging of Fine Particles by Random Motion of Ions in an Electric Field," Ph.D. thesis, Carnegie Institute of Technology, Pittsburgh, Pennsylvania, 1956.

11. MURPHY, A. T., F. T. ADLER, AND G. W. PENNEY, "A Theoretical Analysis of the Ef​fects of an Electric Field on the Charging of Fine Particles," AIEE Trans 78, 318‑326(1959).

12. WHITAKER, E., "Analytical Dynamics," 4th ed. pp. 77‑93. Cambridge University Press, 1937.

13. Liu, Y. 0, WHITBY, K. T, AND Yu, H. S., "Experimental Study of the Diffusion Charging of Aerosol Particles at Low Pres​sures," To be published in J. Appl. Phys.,1967.

______________________

